ISIMET Equipment	                                 		      Non-ISIMET Equipment

| A – Kitchen Hood Controller Hub ISIMET P/N – KHC 111X | F – Air-Flow Proving Switch ISIMET P/N - IPS | 1 – Fire Suppression System Controller |
| --- | --- | --- |
| B – Independent Wall Panel ISIMET P/N – LAIP-521X | G – Relay Enclosure ISIMET P/N – IRE/XS | 2 – Fusible Link Suppression System Detector |
| C – CO Sensor ISIMET P/N – FGS-1142 | H – Remote Emergency Pushbutton ISIMET P/N – IP-O | 3 – Suppression System Discharge Nozzle |
| D – Fuel Gas Sensor ISIMET P/N – FGS-1111 | I – Temperature Sensor Probe (Included in models with Temperature Sensor Monitoring) | 4 – Commercial Kitchen Hood |
| E – Fuel Gas Solenoid – N/C ISIMET P/N – S-30X-120 Volt |  | 5 – Gas Fired Equipment |
|  |  | 6 – Manual Reset Gas Solenoid |

## ISIMET

## KITCHEN HOOD CONTROLLER