ISIMET  –  Product Specifications

Description of the Documents and Drawings.

SECTION 13910 – LABORATORY SAFETY DEVICE SYSTEM

We have prepared a comprehensive section for the product specifications that include the installation requirements for a complete and operational Laboratory Safety Control Device System.  We believe that by creating the additional specifications section, SECTION 13910, the contractor providing the equipment and/or performing the installation will more readily understand the scope of their work.

The Section is written in four formats:

- Furnished and installed by Electrical Contractor  (Copy included in Catalog)

- Furnished and installed by Plumbing Contractor.

- Furnished and installed as scheduled in PART 3 – EQUIPMENT SCHEDULE

- Additionally specifications with 12-VDC solenoid coils are included.

In each instance, specific statements pertaining to each trade’s responsibilities are stated within the section.  Where either trade will furnish but provide to the other for installation or final connection, we expressly address that process.

Additionally, we recommend that in each specific trade’s “BASIC REQUIREMENTS” section, reference to the SECTION 13910 be made within the “RELATED SECTIONS” paragraph.

All ISIMET Products are included in PART 2 – PRODUCTS: as well in PART 6 – EQUIPMENT SCHEDULE.  We recommend that if you do not wish to include specific Products or accessories, that they be excluded from PART 6.

The specific model numbers for each Product are the recommended models.  Where an X is indicated in the model number, field configuration can occur without the need to specify an alternate product model.

The “SYSTEM CONFIGURATION” portion includes our recommended configurations where all Products are incorporated in the project.

We have used phrases such as “where indicated on Drawings…” so that Products and configurations not required may be excluded without the need to edit the section.

Where it is preferred to have this scope of work appear in either the Mechanical or Electrical specifications, we recommend that the Section number be changed from 13910 to 15910 or 16910 accordingly, or to another appropriately sequenced number.

ISIMET CAD Drawings:

CAD files are available in several formats, distinguishing between various numbers of solenoids required for specific project requirements.  ISIMET encourages reasonable modifications to the CAD drawing in order to expressly reflect specific project requirements.

Additionally, we recommend a schedule be placed on each of the Drawings where Products appear using the following or similar nomenclature:

| Notes by Symbol | ISIMET Product |
| --- | --- |
| 1 | ISIMET Utility Controller |
| 2 | E – Series Electrical Enclosure |
| 3 | S – Series Solenoid Enclosure |
| 4 | LA – Series Control Panel |
| 5 | Remote Panic Assembly |
| 6 | Monitoring Light Array |
| 7 | Panic-Alarm Light Indicator |
| 8 | Remote Monitoring Panel |

Provide Equipment and make final connections per Section 13910.